## Sheet1
|  |  | Summary | [6 empty] | Premeasurement
| Start Time |  | Duration (s) | Total Q (ft3/s) | Top Q (ft3/s) | Middle Q (ft3/s) | Bottom Q (ft3/s) | Left Q (ft3/s) | Right Q (ft3/s)
| 12:42 |  | 965 | 4906.989 | 1440.56 | 2813.513 | 519.59 | 69.241 | 64.085 | ADCP Test | Yes | Test Fails | 0
20171214124143r.mat | 12:42 | R | 239 | 4939.36 | 1397.385 | 2887.4 | 516.859 | 63.799 | 73.918 | Compass Cal | Yes | Compass Eval | No
20171214124605r.mat | 12:46 | L | 255 | 4832.541 | 1496.533 | 2715.836 | 506.259 | 54.48 | 59.433 | Moving-Bed Test | Yes | Moving Bed? | Yes
20171214125037r.mat | 12:51 | R | 228 | 4920.301 | 1421.702 | 2797.599 | 548.589 | 83.193 | 69.219 | External Temperature (C) | 11.1 | Temperature Change (C) | 0.3
20171214125444r.mat | 12:55 | L | 243 | 4935.754 | 1446.62 | 2853.218 | 506.654 | 75.491 | 53.77 | Magnetic Variation | 3 | Heading Offset | 0
Settings
Edge
[15 empty] | Distance (ft) |  | Type
[15 empty] | Left | Right | Left | Right |  | Draft (ft) | 1.27 | Excluded (ft) | 0.52
[14 empty] | 20171214124143r.mat | 35 | 26 | Tri | Rect |  | Navigation | BT | Composite | Off
[14 empty] | 20171214124605r.mat | 35 | 26 | Tri | Rect |  | Depth | BT | Composite | On
[14 empty] | 20171214125037r.mat | 35 | 26 | Tri | Rect |  | Exponent | 0.1667 | Top | Constant
[14 empty] | 20171214125444r.mat | 35 | 26 | Tri | Rect |  |  |  | Bottom | No Slip
[29 empty] | Width (ft) | Area (ft2) | Avg Boat Speed (ft/s) | Course Made Good (deg) | Q/A (ft/s) | Avg Water Direction (deg)
[15 empty] | Edge |  |  |  |  | Excluded |  |  |  |  | Top | Bottom |  | Average | 415.5 | 2744.2 | 1.56 |  | 1.79 | 82.82
[15 empty] | Distance (ft) |  | Type |  | Draft | Distance | Depth |  | Navigation |  | Method | Method | Exp | 20171214124143r.mat | 416.8 | 2786.5 | 1.63 | 352 | 1.77 | 82.67
[15 empty] | Left | Right | Left | Right | (ft) | (ft) | Ref | Comp | Ref | Comp | Constant | No Slip | 0.1667 | 20171214124605r.mat | 411.3 | 2661.5 | 1.48 | 174.2 | 1.82 | 83.04
[14 empty] | 20171214124143r.mat | 35 | 26 | Tri | Rect | 1.27 | 0.52 | BT | On | BT | Off | Constant | No Slip | 0.1667 | 20171214125037r.mat | 414.9 | 2734.6 | 1.59 | 352.3 | 1.8 | 82.28
[14 empty] | 20171214124605r.mat | 35 | 26 | Tri | Rect | 1.27 | 0.52 | BT | On | BT | Off | Constant | No Slip | 0.1667 | 20171214125444r.mat | 419.1 | 2794.1 | 1.52 | 176.8 | 1.77 | 83.3
[14 empty] | 20171214125037r.mat | 35 | 26 | Tri | Rect | 1.27 | 0.52 | BT | On | BT | Off | Constant | No Slip | 0.1667
[14 empty] | 20171214125444r.mat | 35 | 26 | Tri | Rect | 1.27 | 0.52 | BT | On | BT | Off | Constant | No Slip | 0.1667

## Sheet1 (2)
System Test |  |  |  | Compass Calibration | Compass Evaluation
Date/Time | No. Tests | Failed | PT3 | Data/Time | Data/Time | Error
20180807_0852 | 10 | 0 | Pass | 20180807_0857 | 20180807_0900 | 0.5
20180807_0854 | 12 | 0 | Failed
20180807_0856 | 4 | 1 | N/A

## Sheet2
ADCP
Serial Number: | 1339 | Manufacturer: | TRDI
Model: | RiverPro | Firmware: | 56.06
Frequency: | 1200 kHz | Depth Cell Size: | 6 - 12 cm
Water Mode: | 3 | Bottom Mode: | 8

## Sheet4
ADCP Test: | Yes | Test Fails: | 0
Compass Calibration: | Yes | Compass Evaluation: | 0.8
Moving-Bed Test: | Yes | Moving Bed? | No
External Temperature (C): | 11.1 | ADCP Temperature (C) : | 10.8
Magnetic Variation: | 3 | Heading Offset: | 0

## Sheet3
Use | Transect |  | Start Time | End Time | Duration (s) | Total Q (ft3/s) | Top Q (ft3/s) | Middle Q (ft3/s) | Bottom Q (ft3/s) | Left Q (ft3/s) | Right Q (ft3/s) | Use | Transect |  | Start Time | End Time | Duration (s) | Total Q (ft3/s) | Stage | Index Velcoity
| 20171214124143r.mat | R | 12:42 | 12:45 | 239 | 4939.36 | 1397.385 | 2887.4 | 516.859 | 63.799 | 73.918 |  | 20171214124143r.mat | R | 12:42 | 12:45 | 239 | 4939.36 | 10.3 | 2.1
| 20171214124605r.mat | L | 12:46 | 12:50 | 255 | 4832.541 | 1496.533 | 2715.836 | 506.259 | 54.48 | 59.433 |  | 20171214124605r.mat | L | 12:46 | 12:50 | 255 | 4832.541 | 10.5 | 2.5
| 20171214125037r.mat | R | 12:51 | 12:54 | 228 | 4920.301 | 1421.702 | 2797.599 | 548.589 | 83.193 | 69.219 |  | 20171214125037r.mat | R | 12:51 | 12:54 | 228 | 4920.301 | 11.2 | 2.8
| 20171214125444r.mat | L | 12:55 | 12:59 | 243 | 4935.754 | 1446.62 | 2853.218 | 506.654 | 75.491 | 53.77 |  | 20171214125444r.mat | L | 12:55 | 12:59 | 243 | 4935.754 | 11.5 | 3